## Slide 1: Unfolding the AmBe Neutron Spectra using GRAVEL and MLEM
Tyler D. Doležal, First Lieutenant
Air Force Institute of Technology
Department of Engineering Physics

## Slide 2: Overview
Time of Flight Experiment
Gamma and AmBe Data Collection
Neutron Unfolding Algorithms
  GRAVEL
  MLEM

## Slide 3: Time of Flight Experiment
Start
Stop
AmBe
dn
n
(2x) 2” EJ-309 w/ 2” PMT
AmBe neutron energy spectrum
  Compare to unfolded results
  Use as a priori initial guess

## Slide 4: Time of Flight Experiment

## Slide 5: Gamma Data
2” EJ-309 detector w/ 2” PMT
Na-22 and Cs-137 Compton Edges used as calibration points
Pulse height must be calibrated for unfolding algorithm

## Slide 6: AmBe Data Collection
2” EJ-309 detector w/ 2” PMT
90-hour collection time
source

## Slide 7: AmBe Data Post-Process
Neutron-only signal

## Slide 8: Neutron Unfolding, Introduction
Solve Ax = b when we have many more equations than unknowns
  Many corresponding x which yield the right b
I’ll use Rx = N
  R.shape = (1024, 201) [Rij] = Response Matrix
  x.shape = (201, ) [xj] = MeV Neutron En. Spectrum
  N.shape = (1024, ) [ni] = MeVee Pulse Height Spectrum
Discretize the energy domain, 0.1 MeV to 10.1 MeV (201 bins)
Discretize the light yield domain, 9.56x10-3 MeVee to 4.78 MeVee (1024 bins)
R
x
N
=

## Slide 9: Neutron Unfolding, GRAVEL
Rx = N
  R.shape = (1024, 201) [Rij] = Response Matrix
  x.shape = (201, ) [xj] = MeV Neutron En. Spectrum
  N.shape = (1024, ) [ni] = MeVee Pulse Height Spectrum

## Slide 10: Neutron Unfolding, MLEM
Rx = N
  R.shape = (1024, 201) [Rij] = Response Matrix
  x.shape = (201, ) [xj] = MeV Neutron En. Spectrum
  N.shape = (1024, ) [ni] = MeVee Pulse Height Spectrum

## Slide 11: Neutron Unfolding, when do we stop?
J
Good guess, closer to 1
Bad guess, closer to 0.1

## Slide 12: Neutron Unfolding, GRAVEL Results
The development, testing and comparison of unfolding methods in SPECTRA-UF for neutron spectrometry – ScienceDirect (2020)
Ran for 20 iterations
Ran for 33 iterations
Initial Guess = ToF Spectrum,
1.
2.

## Slide 13: Neutron Unfolding, GRAVEL Results
The development, testing and comparison of unfolding methods in SPECTRA-UF for neutron spectrometry – ScienceDirect (2020)
Ran for 20 iterations
Ran for 48 iterations
Initial Guess = np.ones(),
1.
2.

## Slide 14: Neutron Unfolding, MLEM Results
Initial Guess = ToF Spectrum,
Initial Guess = np.ones(),
1.
2.

## Slide 15: Neutron Unfolding, Comparison

## Slide 16: Summary
Time of Flight Experiment
Gamma and AmBe Data Collection
Neutron Unfolding Algorithms
  GRAVEL
  MLEM

## Slide 17: Open Discussion
tylerdolezal/Neutron-Unfolding: Python implementations of GRAVEL and MLEM algorithims are available within (github.com)